## Slide 1: Development of In vitro qFRET Reporter Assays for the Characterization of Non-covalent and Covalent Protein-Protein Interaction
Vipul Madahar

## Slide 2: Presentation Outline
Introduction to qFRET Technology
In vitro qFRET Based Assay for Interaction of PD1-PDL1
  qFRET Based KD and Ki
In vitro SUMOylation of IAV-M1 and SARS-CoV-2 Nucleocapsid protein with qFRET as a Reporter

## Slide 3: Introduction to qFRET Technology Background and Significance
The lessons learned from proteomic studies
  Dynamic behavior of the protein network during disease pathogenesis
  Proteins exist as isoforms called proteoforms, from genetic or RNA variations, and post translation modification that modulate the proteins' function and interaction network
Example of Covalent Modifications
Ubiquitination - Lysine
Phosphorylation - S/T/Y/H
NEDDylation - Lysine
SUMOylation - Lysine
Acytlation/Methylation/Glycosylation
Proteoform 1
Proteoform 2
Proteoform 3
Proteoform 4
Proteoform n

## Slide 4: Introduction to qFRET Technology Background and Significance
Translocation
*Phosphorylation
Transcription Regulation
Protein Secretion
Disease Progression
Protein Life Cycle
*Ubiquitin
Immune Response
Protein Isoforms
Protein-Protein Interaction
Cellular Function
KD, kcat, Km

## Slide 5: Introduction to qFRET Technology Background and Significance
The next step in understanding our proteome network is to investigate the dynamic properties of our proteome and to resolve covalent and non-covalent interactions
The bottle neck in establishing a dynamic interaction network are challenges in identifying modified proteins (proteoforms) and characterizing the kinetic parameters of protein-protein interaction

## Slide 6: Introduction to qFRET Technology Background and Significance
Quantitive Förster Resonance Energy Transfer (qFRET) platform provides a robust method to monitor the protein-protein interaction events
Liao Lab we have developed several methods for quantifying protein-protein interaction using FRET principles
Application | Year Est. | Alumni
KD | 2011 | Yang Song
P-P Interaction HTS | 2012 | Yang Song
kcat/KM | 2011 | Yan Liu
Ki | 2016 | Michael Xiong*
KD (Without Purification) | 2019 | Ling Jiang & Michel Xiong*

## Slide 7: Introduction to qFRET Technology Background and Significance
Förster Resonance Energy Transfer describes the non-radiative dipole-dipole interaction between the donor and accepter pairs
Theodor Förster characterized the phenomenon and found that the dipole-dipole coupling occurred within 1 – 10 nm, R, the distance between donor and acceptor
This phenomenon is highly sensitive to the distance R between donor and acceptor due to the inverse sixth power relationship to efficiency
Spectral Overlap:
Notes: Spectral Overlap
"Förster" Distance
Spectral Overlap

## Slide 8: Introduction to qFRET Technology Background and Significance
Applied here are two fluorescent proteins that have been optimized for FRET
CyPet (donor) –YPet (acceptor) are observed to have a 20-fold higher FRET efficiency then the CFP-YFP pair, with an observed R0 of 5.15 nm
Predicted FRET efficiency over distance R
Donor Cypet
Acceptor YPet

## Slide 9: Introduction to qFRET Technology Background and Significance
Bulk FRET reporter, EmFRET, is measured by observing three wavelengths
We correct for cross talk using two ratiometric parameters alpha α and beta β
 | Excitation (λ) | Emission (λ)
EmTotal | 414 nm | 530 nm
FlD | 414 nm | 475 nm
FLA | 475 nm | 530 nm

## Slide 10: Introduction to qFRET Technology Background and Significance
Technique | Surface Plasmon Resonance (SPR) | Isothermal Titration Calorimetry (ITC) | Quantitative Förster Resonance Energy Transfer (qFRET)
Advantages | Sub nanomolar detection - Resolve KD/Ki | - Solubilized - No tag required - Resolve KD/Ki/kcat/Km | Solubilized Resolve KD/Ki/kcat/Km HTS Compatible
Disadvantages | - Immobilization - Protein modification - Specialized instrument | - High concentration of protein required - Specialized instrument | -Fluorescent tag required

## Slide 11: Presentation Outline
Introduction to qFRET Technology
In vitro qFRET Based Assay for Interaction of PD1-PDL1
  qFRET Based KD and Ki
In vitro SUMOylation of IAV-M1 and SARS-CoV-2 Nucleocapsid protein with qFRET as a Reporter

## Slide 12: Development of qFRET based interaction assay of Programmed Death 1 (PD1) and Programmed Death Ligand 1 (PDL1)

## Slide 13: PD1-PDL1 Interaction a Target for Cancer Therapy
Anti-PDLs
Cancer Cell
Cytotoxic T-Cell
Cytokine release inhibited
Cancer Cell
Cytotoxic T-Cell
PD1
PDL1
MHCI
C8
TCR
Anti-PD1
Cytokine release
SHP-2
Notes: Figure 1: The interaction of PD1 with PDL1 or 2 exhausts the T-Cell response and allows the cancer cells to survive. The T cell surface receptor contacts the major histocompatibility complex I surface protein. The PD1 also interacts with the PDL1 protein, and the downstream signaling by TCR is inhibited by the recruitment of SHP-2. In contrast to when PD1 does not interact with PDL1 or 2 the SHP-2 is not recruited and does not inhibit the TCR response. B.) The anti-PD1 or anti-PDL mAbs block PD1 and PDL from interacting. PD1 can no longer recruit SHP-2 and the T-Cell activates to destroy the cancer cell.
Programmed Death 1 (PD1) is a membrane protein that is expressed on immune cells such as T cells
T cell interaction with antigen presenting cells (APC) will initiate an immune response
Programmed Death Ligand 1 (PDL1) is expressed on APC to exhaust the immune response
The interaction of PD1 with PDL1 completes the “immune checkpoint” and inhibits the immune response

## Slide 14: PD1-PDL1 qFRET Assay Principle and Design
qFRET based assay design to investigate non-covalent interaction
PD1
PDL1
CyPet-Programmed Cell Death Receptor 1
YPet-Programmed Cell Death Ligand 1
FRET
Donor
Acceptor
Notes: Introduced here

## Slide 15: qFRET dissociation constant (KD) Resolving qFRET based disassociation constant KD
KD is a metric used to evaluate the non-covalent interaction of two biomolecules
We derive a relationship of EmFRET with KD
Given the following interaction scheme
[RL]
[R]+[L]
KD
 | Eq. 2.16
 | Eq. 2.16
Manuscript: Development of qFRET assay for PD1-PDL1 interaction
Patent Disclosure: Neutralizing Antibody Assay (7/2021)

## Slide 16: Results qFRET based KD Protein Isolated From Soluble Fraction
 | CyPet-OptPD1-YPet-OptPDL1 | Negative Control: CyPet-OptPD1-YPet
KD (µM) | 0.82 | 25.21
Std. Error (µM) | 0.13 | 21.95
95% Confidence Intervals (µM) | 0.55 to 1.07 | 0.0 to 70.73
R² | 0.97 | 0.98
EmFRET (R.F.U.)
EmFRET (R.F.U.)
Total YPet (µM)
Total YPet-OptPDL1 (µM)
Manuscript: Development of qFRET assay for PD1-PDL1 interaction
Patent Disclosure: Neutralizing Antibody Assay (7/2021)
Notes: Figure 3:Kd measurement was done with CyPet-OptPD1 held constant at 0.2 µM and titration of the YPet-OptPDL1 from 0 – 3.0 µM. The extracted EmFRET was plotted against the titration of total YPet-OptPDL1. The derived relationship of EmFRET to the total receptor concentration, total ligand concentration, and the Kd from equation 16 is used for non-linear regression and the estimation of a Kd value is shown. GraphPad Prism 5TM is used for the non-linear regression curve fit solution.

## Slide 17: Results qFRET based Ki Full length PD1 and PDL1 with Pembrolizumab
qFRET Competition Assay: Pembrolizumab | 
qFRET Ki nM | 1.41
95 % Confidence Interval nM | 0.94 to 2.14
R2 | 0.97
qFRET IC50 nM | 1.76
95 % Confidence Interval nM | 1.17 to 2.66
R2 | 0.97
Manuscript: Development of qFRET assay for PD1-PDL1 interaction
Patent Disclosure: Neutralizing Antibody Assay (7/2021)

## Slide 18: Summary of Dissociation Constants Reported For PD1-PDL1
Comparison of qFRET based dissociation constant KD
Flow C. µM | SPR µM | ITC µM | BLI µM | qFRET µM | Exp. Host | Domain | Post Mod.
0.526 | 0.114 | - | - |  | Human Jurkat Cells | External Domain | Amino Coupling
- | 0.77 | - | - |  | COS Cells | External Domain | Amine Coupling
- | 8.2 | 2.2 | - |  | E. coli BL21(DE3) | External Domain | Biotinylated
- | - | - | 4.1 |  | Human Expi293F | External Domain | Amine Coupling
 |  |  |  | 0.82 ± 0.13 | E. coli BL21(DE3) | Full Length | Protein Tag

## Slide 19: Challenges In Expression Of PD1 and PDL1 Within E. coli
Low yields in full length and truncated protein expression
  Expression and codon optimization of full length OptPD1 and OptPDL1
  Refolding external domain and full length OPtPDL1

## Slide 20
Codon Adaptation Index – (CAI) is a overall metric of a genes use of codons in reference to a codon RSCU
CAI value is calculated for a gene, given a relative adaptiveness for codon usage
  Geometric mean of relative adaptiveness (w) of a codon from the start codon to the stop codon
  Using R-BioConductor Package – developed codon optimization script to optimize for E coli BL21(DE3)
Paul M.Sharp1-2* and Wen-Hsiung Li2, “The codon adaptation index - a measure of directional synonymous codon usage bias, and its potential applications”, Nucleic Acid Research, 15, 1987
 | CAI Score Human | CAI Score E. coli Wildtype | CAI Score E. coli Optimized
hPDL1 | 0.7 | 0.6 | 0.9
hPD1 | 0.8 | 0.6 | 0.9
Codon Optimization
Notes: RSCU

## Slide 21: Challenges In Expression Of PD1 and PDL1
Wild Type | Codon Optimized
CyPet-PD1 | 
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
His-Tag Purified
Wild Type | Codon Optimized
YPet-PDL1 | 
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
His-Tag Purified
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
His-Tag Purified
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
His-Tag Purified
 | Wild Type (ug for a Liter of 2xYT) | Codon Optimized (ug for a Liter of 2xYT) S.F.
CyPet-PD1 (60kD) | 81 | 1820
YPet-PDL1 (64kD) | 1.14 | 1300
Manuscript: Development of qFRET assay for PD1-PDL1 interaction

## Slide 22: Refolding full length hPDL1 For qFRET Assay Results: Buffer Screen Circular Dichroism (CD)
CD comparison of buffers 1, 2, and 3 show a secondary structure
In comparison to the soluble fraction, we find the same inflection at 210 nm
Manuscript: Development of qFRET assay for PD1-PDL1 interaction

## Slide 23
 | Soluble Fraction | Refolded PDL1 | YPet-ExtPD1 and CyPet-ExtPDL1
Kd (µM) | 0.82 | 0.79 | 1.20
Std. Error (µM) | 0.13 | 0.16 | 0.20
95% Confidence Intervals (µM) | 0.55 to 1.07 | 0.46 to 1.12 | 0.77 to 1.63
R² | 0.97 | 0.96 | 0.98
EmFRET (R.F.U.)
EmFRET (R.F.U.)
Total CyPet-OptPD1 (µM)
Total CyPet-OptPD1 (µM)
Total YPet-OptPD1 (µM)
Results qFRET based KD Refolded Full length PDL1
Manuscript: Development of qFRET assay for PD1-PDL1 interaction
EmFRET (R.F.U.)
Notes: Figure: The qFRET Refolded YPet-hPDL1 was setup as the constant and the titration of CyPet-hPD1 from (0 – 2.5). The extraction of EmFRET from the assay is plotted against the total concentration of CyPet-hPD1. PrismTM is used for the non-linear regression solution, and all measurements were taken on Flexstation II 384 using Software Max Pro 7.0TM.

## Slide 24: Discussion and Conclusion qFRET based interaction assay Full length PDL1
Express full length PD1 and PDL1 within E.coli
  Successfully obtained KD of 0.82 µM of full length PD1-PDL1
Developed qFRET based refolding assay for full length PDL1
Observed qFRET Ki 1.41 nM of anti-PD1 Pembrolizumab
Anti-PD1 Pembrolizumab Ki | 
Technique | Ki (nM)
SPR | 3.0
qFRET | 1.41
Manuscript: Development of qFRET assay for PD1-PDL1 interaction
Patent Disclosure: Neutralizing Antibody Assay (7/2021)

## Slide 25: Presentation Outline
Introduction to qFRET Technology
In vitro qFRET Based Assay for Interaction of PD1-PDL1
  qFRET Based KD and Ki
In vitro SUMOylation of IAV-M1 and SARS-CoV-2 Nucleocapsid protein with qFRET as a Reporter

## Slide 26: In-Vitro qFRET Assay for SUMOylation of Viral Proteins, IAV-Matrix 1 Protein and SARS-CoV-2 Nucleocapsid Protein
Notes: SUMOylation of Influenza Virus A Matrix 1 protein with PIAS 1 as E3 ligase

## Slide 27: Post Translation Modification of IAV M1 Protein SUMOylation Modification Of M1
Motivation
  Viral proteome studies have shown M1 protein is a “essential gene” for viral pathogenesis
  Global knock down of SUMOylation changes the shape of the viral particle
Wild Type Cells viral particles
SUMO knock down viral particles
Wu, C.-Y., Jeng, K.-S. & Lai, M. M.-C. The SUMOylation of Matrix Protein M1 Modulates the Assembly and Morphogenesis of Influenza A Virus. J. Virol. 85, 6618–6628 (2011).
Notes: surface glycoproteins hemagglutinin (HA), neuraminidase (NA) and the M2 ion channel protein, and the host cellular membrane-derived lipid bilayer build the viral envelope. Underneath the envelope is the matrix protein (M1), a major structural protein. The core of the virus particle is the viral ribonucleoprotein (vRNP), composed of viral RNA (vRNA) associated with the nucleoprotein (NP) and three components of the viral RNA polymerase complex (PA, PB1, and PB2).

## Slide 28: Post Translation Modification of IAV M1 Protein SUMOylation Modification Of M1
Small Ubiquitin like Modifier (SUMO) has 4 paralogs, SUMO 1, 2, 3, and 4
SUMO 1/2/3 are the two most abundant of the SUMOs
SUMO 2/3 and are self SUMOylating and create SUMO chains
SUMO4 is very low abundance in the body, can be found in the kidney and lymph nodes
N-terminal Tail
C-terminal
(Di-glycine Motif)
SUMO1
PDB:1A5R
Submitted "Identify human SUMOylation as an Essential Host Pathway for Influenza Virus Infections and Its Inhibition Leads minimal Mutation Escape“ Under Review Nature Communications
Notes: Protein translocation, protein stability, cellular increase in DNA repair mechanisms, and cell division

## Slide 29: In-Vitro SUMOylation of Viral Proteins with qFRET Reporter
FRET Pair CyPet and YPet | 
Activated-hSUMO1 (PDB:1A5R) | 
Enzyme Activating Complex 1 (EA1):(Uba2.AOS1.hSUMO) (PDB: 3KYC) | 
Conjugating Enzyme (E2): hUbc9.hSUMO1 (PDB:2PE6) | 
E3 Ligase: Protein Inhibitor Of Activated STAT1 (hPIAS1) (PDB:1V66 *) | 
Target Protein: Influenza A Virus Matrix 1 Protein (IAV-M1) (PDB:7jm3) | 
CyPet
YPet
ATP
PPi
Mg2+
K
Cys173-UBA2
S
O
Gly98-hSUMO1
Cys93-UbC9
S
O
Gly98-hSUMO1
NH
O
Gly98-hSUMO1
Lys-IAV-M1
GG
Submitted "Identify human SUMOylation as an Essential Host Pathway for Influenza Virus Infections and Its Inhibition Leads minimal Mutation Escape“ Under Review Nature Communications
UCR Disclosure ”FRET based SUMOE3 Ligase Assay” 06/2019
Notes: SUMO1:1A5R
AOS1/UBA2/SUMO:3KYC
UBC9:color:2pe6:HexD46C40
UBC9/SUMO:2PE6
Pias1:https://swissmodel.expasy.org/
M1:
ATP+E1 adenylated and makes a thioester intermediate E1+SUMO1
Transferred to a catalytic cysteine93 residue on E2
Finally with the help of the E3 ligase with either a RING or HECT domain the SUMO is transferred to the target protein lysine residue

## Slide 30: Results In vitro SUMOylation of YPet-IAV-M1 with qFRET Reporter
In-vitro SUMOylation Of IAV YPet-M1
with and without E3 Ligase PIAS1
**
- | + | +
+ | - | +
ATP
E3: PIAS1
***
***
A
B
C
T-test n = 3, p<0.0001*** p<0.001**
Submitted "Identify human SUMOylation as an Essential Host Pathway for Influenza Virus Infections and Its Inhibition Leads minimal Mutation Escape“ Under Review Nature Communications
UCR Disclosure ”FRET based SUMOE3 Ligase Assay” 06/2019

## Slide 31: Results Mass Spectrometry Identified SUMO1 modified lysine
K252
K21
K35
K187
K230
K242
Puerto Rico/1934
K47
K95, 98, 102, 104,113
K57
Lysine Position | SUMO Peptide Discovered | Enzyme
21 | GGTQEQYV | GluC
187 | GGTQEQYVEIVDEEEMG | Chymotrypsin
230 | GGTQEQYV | GluC
242 | GGTQEQYV | GluC
252 | GGTQ | GluC
Submitted "Identify human SUMOylation as an Essential Host Pathway for Influenza Virus Infections and Its Inhibition Leads minimal Mutation Escape“ Under Review Nature Communications
Patent Filed “SUMOylation Inhibitors and Methods” 09/10/2021

## Slide 32: Results In vitro SUMOylation of Mutant YPet-IAV-M1 with qFRET Reporter
C-terminal mutant and hexa mutant showed the most significant decrease in qFRET signal
+ATP/-ATP T-Test unpaired *** p<0.0001
Wild Type | K21R | K35R | K187R | K230R | K242R | K252R | 21/35 NT** | 187/230/242/252 CT** | 21/35/187/230/242/252
- | + | +
+ | - | +
ATP
PIAS1-E3
- | + | +
+ | - | +
- | + | +
+ | - | +
- | + | +
+ | - | +
- | + | +
+ | - | +
- | + | +
+ | - | +
- | + | +
+ | - | +
- | + | +
+ | - | +
- | + | +
+ | - | +
- | + | +
+ | - | +
***
**
ns
*
**
**
*
***
***
ns
***
***
**
ns
**
***
*
**
***
***
***
ns
***
**
ns
ns
ns
ns
ns
ns
Submitted "Identify human SUMOylation as an Essential Host Pathway for Influenza Virus Infections and Its Inhibition Leads minimal Mutation Escape“ Under Review Nature Communications

## Slide 33: Results Viral plaque assay
 | IAV M1 Wild Type |  | IAV-M1 K21R |  | IAV-M1 K35R |  | IAV-M1 K187R | 
PBS
10-3
10-4
10-5
10-6
10-7
100
10-2
10-3
10-4
10-5
10-6
 | IAV M1 K230R |  | IAV-M1 K242R |  | IAV-M1 K252R |  | K21,35,187,230,242,252R | 
100
10-2
10-3
10-4
10-5
10-6
100
10-2
10-3
10-4
10-5
10-6
100
10-2
10-3
10-4
10-5
10-6
100
10-2
10-3
10-4
10-5
10-6
100
10-2
10-3
10-4
10-5
10-6
100
10-2
10-3
10-4
10-5
10-6

## Slide 34: Results Viral plaque assay and Kinetic Assay
Viral Cytotoxic Assay for M1 mutants
  Starting MOI of 0.005 for each virus
  Note M1 K21R was added undiluted
Submitted "Identify human SUMOylation as an Essential Host Pathway for Influenza Virus Infections and Its Inhibition Leads minimal Mutation Escape“ Under Review Nature Communications
Patent Filed “SUMOylation Inhibitors and Methods” 09/10/2021

## Slide 35: Discussion and Conclusion IAV-Matrix 1 Protein
We observed M1 mutant K21R to have no viral pathogenesis
Confirmed lysine 21 mutant expression in two ways
  Immunoprecipitation and Immunostaining
Modification | Position
Ubiquitination | K102/K104
Phosphorylation | Y132
NEDDylation | K187
SUMOylation | K21/K187/K230/K242/K252
Submitted "Identify human SUMOylation as an Essential Host Pathway for Influenza Virus Infections and Its Inhibition Leads minimal Mutation Escape“ Under Review Nature Communications
Patent Filed “SUMOylation Inhibitors and Methods” 09/10/2021

## Slide 36: In vitro qFRET Assay for the SUMOylation of SARS-CoV-2 Nucleocapsid (N) protein

## Slide 37: Results In vitro SUMOylation of SARS-CoV2-N Protein with qFRET Reporter
In vitro SUMOylation of N protein with increased concentration of donor and acceptor. SD shown in bars (One-way ANOVA with Tukey Test, p<0.0001***) (n=3)
ns
***
***
Pre-Mass Spectrometry
qFRET report of N Protein SUMOylation
- | + | +
+ | - | +
ATP
E3: PIAS1

## Slide 38: Results Mass Spectrometry Identified SUMO1 modified lysine
Mass Spectrometry identified lysine sites with the SUMO modification.
  Lysine 61 & 65
Lysine 61 and 65 are within the region of the site identified for SARS-CoV-1 Nucleocapsid protein
Lysine 347 and 355 are potential novel sites identified in the dimerization domain
K61
SARS-Co V2 Nucleocapsid Protein
K65
K347*
K355*
RNA Binding Domain
AA 50-174
Dimerization Domain
AA 246-365
Linker Region
Manuscript: SUMOylation of SARS-CoV2 Nucleocapsid protein

## Slide 39: Results qFRET assay for in vitro SUMOylation of N Protein Mutants
N protein mutants SUMOylation reaction with (One-way ANOVA with Tukey’s Multiple Comparison Test p<0.0001*** p<0.05*)
Wild Type | K61R | K65R | K347R | K355R | K61,65R
***
***
*
***
NS
***
***
***
***
***
***
NS
***
***
***
***
***
***

## Slide 40: Results Cellular Translocation of Nucleocapsid Protein
Subcellular translocation studies a YPet-N Protein is expressed in HUH7 cells
Nucleocapsid Protein
YPet
Channel: Hoechst (375 nm) | Channel: YPet (530 nm) | Merged

## Slide 41: Results Cellular Translocation of Nucleocapsid Protein
Wild Type | K61R | K65R | K347R | K355R
Hoechst
YPet
Merged

## Slide 42: In vitro SUMOylation of N Protein Mutants
Translocation
*Phosphorylation
Disease Progression
Protein Isoforms
Protein-Protein Interaction
Cellular Function
KD

## Slide 43: SUMO1 modified N protein – affinity investigation by qFRET KD
Oligomerization of N protein is evaluated by qFRET KD of modified and unmodified N protein
  Fusion proteins Cypet-N Protein and YPet-N Protein are setup for KD with and without SUMOylation modification
Method takes advantage of qFRET technique of mixed protein kinetics
KD Reaction 1 – Native Unmodified |  | KD Reaction 2 – SUMO Modified | 
CyPet-N Protein | YPet-N Protein | SUMOylated CyPet-N Protein | SUMOylated YPet-N Protein
qFRET KD of unmodified target proteins |  | qFRET KD of modified target proteins | 
SUMOylated qFRET KD
Native qFRET Kd
KD N-Protein unmodified
KD N-Protein Modified

## Slide 44: Results SUMO1 modified N protein – affinity investigation by qFRET KD
 | Un-Modified Wt N Protein | Modified Wt N Protein
KD µM | 0.82 | 0.34
Standard Error µM | 0.18 | 0.07
95 % Confidence Interval µM | 0.44 to 1.20 | 0.18 to 0.50
R2 | 0.97 | 0.97
n | 27 | 27
qFRET KD N Protein Wildtype (Wt)
Modified KD: 0.34 +/- 0.07 µM
Unmodified KD: 0.82 +/- 0.18 µM

## Slide 45: Discussion and Conclusion qFRET assay for in vitro SUMOylation of N Protein Mutants
In vitro SUMOylation assay with qFRET as a reporter coupled with MS provides alternative reliable method of evaluating modification of proteins
Demonstrated novel SUMO1 modification on K61/65/347/35 SARS-CoV-2 N protein
Reconstitution of SARS-CoV-2 is not currently possible, in vitro methods demonstrated here provide an alternative approach

## Slide 46: Presentation Outline
Introduction to qFRET Technology
In vitro qFRET Based Assay for Interaction of PD1-PDL1
  qFRET Based KD and Ki
In vitro SUMOylation of IAV-M1 and SARS-CoV-2 Nucleocapsid protein with qFRET as a Reporter
Industry Experience

## Slide 47: Industry Experience Systems Integration, Senior Research Associate
MiSeq – Integration Team
  Prototype to customer release
  Fluidic Module Development
  Amplicon Workflow Development
  1 Channel SBS Sequencing Development

## Slide 48: Industry Experience Systems Integration, Senior Research Associate
iSeq100 – Integration Team
  Prototype development
  One Channel SBS Sequencing development
  Received team innovation award 2014 Q4

## Slide 49: Industry Experience Systems Integration, Senior Research Associate
HiSeqX – Integration Team
  Prototype to customer release
  Patterned flow-cell development
  Part of focus tracking team and FPGA team
  Delivered first shipment to Macrogen in South Korea.

## Slide 50: Thank you & Questions?

## Slide 52: Appendix

## Slide 53: qFRET dissociation constant (KD) Resolving qFRET based disassociation constant KD
[RL]
[R]+[L]
KD
 | Eq. 2.1
 | Eq. 2.2
 | Eq. 2.3
 | Eq. 2.4
 | Eq. 2.5
 | Eq. 2.6
Rearrange Eq 6, | Eq. 2.7
Eq 7 solved for [L]Free, | Eq. 2.8
 | Eq. 2.1
 | Eq. 2.2
 | Eq. 2.3
 | Eq. 2.4
 | Eq. 2.5
 | Eq. 2.6
 | Eq. 2.7
 | Eq. 2.8
Manuscript: Development of qFRET assay for PD1-PDL1 interaction
Given the following interaction scheme

## Slide 54: qFRET dissociation constant (KD) Resolving qFRET based disassociation constant KD
Given the following interaction scheme
[RL]
[R]+[L]
KD
Assume the maximum bound is equivalent to [R]Total, | Eq. 2.9
Assume ratio of bound [RL] to EmFRET response, | Eq. 2.10
 | Eq. 2.13
= | Eq. 2.15
 | Eq. 2.16
 | Eq. 2.9
 | Eq. 2.10
 | Eq. 2.13
 | Eq. 2.15
 | Eq. 2.16
Manuscript: Development of qFRET assay for PD1-PDL1 interaction

## Slide 55: qFRET rate of inhibition Ki Resolving qFRET based rate of inhibition Ki
To evaluate inhibitor activity using qFRET we utilize Cheng Prusoff relationship of rate of inhibition Ki to IC50
PD1
PDL1
 | Eq 2.17
Cheng Prusoff relationship of IC50 to Ki, | Eq 2.18
 | Eq 2.19
 | Eq 2.17
 | Eq 2.18
 | Eq 2.19
Manuscript: Development of qFRET assay for PD1-PDL1 interaction

## Slide 56
Codon Adaptation Index – (CAI) is a measure of a genes use of codons in reference to a codon RSCU
CAI value is calculated for a gene, given a relative adaptiveness for codon usage
  Geometric mean of relative adaptiveness (w) of a codon from the start codon to the stop codon
  Using R-BioConductor Package – developed codon optimization script to optimize for E coli BL21(DE3)
Paul M.Sharp1-2* and Wen-Hsiung Li2, “The codon adaptation index - a measure of directional synonymous codon usage bias, and its potential applications”, Nucleic Acid Research, 15, 1987
 | CAI Score Human | CAI Score E. coli Wildtype | CAI Score E. coli Optimized
hPDL1 | 0.7 | 0.6 | 0.9
hPD1 | 0.8 | 0.6 | 0.9
2.5 Results Expression and codon optimization of full length PD1 and PDL1

## Slide 57: Introduction to qFRET Technology Background and Significance
Sentrin/SUMO-specific protease SENP1 (2CKG) | 
Activated-hSUMO1 (PDB:1A5R) | 
Enzyme Activating Complex 1 (EA1):(Uba2.AOS1.hSUMO) (PDB: 3KYC) | 
Conjugating Enzyme (E2): hUbc9.hSUMO1 (PDB:2PE6) | 
E3 Ligase: Protein Inhibitor Of Activated STAT1 (hPIAS1) (PDB:1V66 *) | 
Target Protein: | 
ATP
PPi
Mg2+
K
Cys173-UBA2
S
O
Gly98-hSUMO1
Cys93-UbC9
S
O
Gly98-hSUMO1
NH
O
Gly98-hSUMO1
Lys-Target
GG
A
B
C
D
E
Goodsell, D. S., Autin, L. & Olson, A. J. Illustrate: Software for Biomolecular Illustration. Structure 27, 1716-1720.e1 (2019).
Notes: SUMO1:1A5R
AOS1/UBA2/SUMO:3KYC
UBC9:color:2pe6:HexD46C40
UBC9/SUMO:2PE6
Pias1:https://swissmodel.expasy.org/
M1:
ATP+E1 adenylated and makes a thioester intermediate E1+SUMO1
Transferred to a catalytic cysteine93 residue on E2
Finally with the help of the E3 ligase with either a RING domain the SUMO is transferred to the target protein lysine residue

## Slide 58: 2.5 Results Refolding of the External Domain of hPD1 and hPDL1
Refolding inclusion body by stepwise dialysis
  Denature Inclusion body in denaturant
  Stepwise dilute denaturant allow amino acids to fold slowly
Dissolve inclusion body in denaturant
Denaturant: Guanidine
Step-wise remove denaturant
2.) Misfolded aggregates
1.) Soluble Intermediate
Aggregation Inhibitor: Arginine
Refolded Protein

## Slide 59: Post Translation Modification of IAV M1 Protein SUMOylation Modification Of M1
Domingues P. et al. group utilized a “slice by slice” technique to determined modified proteins
SILAC Technique with overexpression of SUMO protein followed by viral infection
SUMO proteins are TAP tagged (protein A and CBP tag) a sequential purification results in complex of modified proteins
Inferred modification with band shift
Domingues, P. et al. Global Reprogramming of Host SUMOylation during Influenza Virus Infection. Cell Rep 13, 1467–1480 (2015).

## Slide 60: Summary of Current PTMs
K102
K104
Y132
K187
K242
N – terminal domain
C – terminal domain
Dimerization domain
1
87
165
252
101
105
NLS
Modification | Position | Study
Ubiquitination | K102/ K104 | Mahesutihan et al (2018)
Phosphorylation | Y132 | Wang et al (2012)
NEDDylation | K187 | Li et al (2020)
SUMOylation | K242 | Wu et al (2011)
Current status of PTM identification for M1 is tabulated
  Viral pathogenesis was terminated with Ubiquitin and Phosphorylation mutants
  Phosphorylation modulated translocation of M1
  NEDDylation mutants improved infectivity
The Wu et al study utilized a prediction method for investigating potential SUMOylation sites and tested only K242 and 187
Notes: hydrophobic residue (Ψ), the modified lysine (K), any amino acid, and either an aspartic acid or a glutamic acid.

## Slide 61: 4.1 SARS-CoV-2 Life Cycle Severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2)
Spike Protein (S)
PDB:5x5b
Severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2), an enveloped positive-stranded RNA virus currently, July 2021 is still a global pandemic
Viral particle contains positive sense viral RNA ~30 kb
Compacted vRNA is packaged by Nucleocapsid protein
Lipid membrane holds membrane protein (M), envelope protein (E)m and Spike protein (S)
Envelope Protein (E)
PDB:5x29
Membrane Protein (M)
Nucleocapsid Protein (N)
vRNA ~30 kbp
80 nm

## Slide 62: 4.1 SARS-CoV-2 Life Cycle Severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2)
Golgi Apparatus
DMVs
1.) Viral entry begins when spike protein binds to ACE2 and TMPRSS2 cleaves spike protein which results in the fusion of viral particle to cell membrane
ER
Native RNA is cleaved and destroyed
vRNA
Ribosome
NSPs
Lysosome – with formed viral particle
4.) Double Membrane Vesicles (DMV) are formed from ER to hold and replicate vRNA, with the help of NSP proteins
5.) Lysosome is formed containing the formed viral particle to be eventually released out of the cell.
2.) Viral RNA is translated as an amino acid chain and NSP3 & 5 proteases process the aa chain into non-structural proteins (NSPs) the cytosol, (NSP1-16)
3.) NSPs block anti viral response elements from being expressed and degrade host RNA
S Protein
ACE2
TMPRESS2

## Slide 63: 4.1 SARS-CoV-2 Life Cycle Severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2)
Nucleocapsid Protein is found in the cytosol and has been reported to shuttle in and out of the nucleus.
Inhibition of interferon anti-viral response by sequestering STAT 1 and 2 in the cytosol
STAT
STAT
IFN
Phosphorylation at linker region

## Slide 64: 5.5 Z’ Qualification Assay Overview
The Z’ qualification is completed over 3 days
The purpose is to run a mock screening with preparation of buffers and proteins
Reactions in an inter-weave patters to test the instrument variation
12/24/64
8/16/24

## Slide 65: 5.5 Z’ Qualification Assay Overview
The Z’ is evaluated for each day over 3 plates
The criteria used is Z’ must be > 0.4
Coefficient of variance must be below 20%

## Slide 66: Challenges In Expression Of PD1 and PDL1
YPet-Ext.PD1
CyPet-Ext.PDL1
Refolded protein yield | (ug for a Liter of 2xYT) | uM
YPet-extPD1 | 282 | 8
CyPet-extPDL1 | 12 | 0.2
YPet-extPD1 (48kD)
CyPet-extPDL1 (58kD)
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
Rescued from IB
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
Rescued from IB
Manuscript: Development of qFRET assay for PD1-PDL1 interaction
The resulting proteins are ran on SDS-PAGE gel and coomassie stained
The wildtype external domain of PDL1 gave low yields after purification
Notes: Figure ##: SDS-PAGE gel, coomassie stain for determination of protein expression and validation of protein purification. 1-BL21(DE3) YPet-Ext.PD1 Induced expression, 2-BL21(DE3)YPet-Ext.PD1 Un-induced, 3-Cell Pellet, 4-Cell Lysate,5-Purified and refolded from inclusion body YPet-PD1, 6-BL21(DE3) CyPet-Ext.PDL1 Induced expression, 7-BL21(DE3)CyPet-Ext.PDL1 Un-induced, 8-Cell Pellet, 9-Cell Lysate,10-Purified and refolded from inclusion body CyPet-PDL1. MW of YPet-Ext.PD1 is 48 kDA and CyPet-Ext.PDL1 is 58 kDa.

## Slide 67: Codon Optimization
Version 1 | Version 2 | Version 3 | Version 4 - Pending
Codon selected for the highest abundance of tRNA | Codon selected for least number of mutations. (2nd or wobble base pair) Point mutation for each codon below a set threshold of codon relative adaptiveness | Selected for least number of mutations by a set threshold of w score Adjusted for Ribosome landing and stop codon insertion and Ribosome take-off | Selected for least number of mutations by a set threshold of w score Adjusted for RNA polymerase landing and stop codon incorporation Monitored mRNA secondary structure for hairpin formation

## Slide 68: Challenges In Expression Of PD1 and PDL1
Wild Type | Codon Optimized
CyPet-PD1 | 
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
His-Tag Purified
Wild Type | Codon Optimized
YPet-PDL1 | 
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
His-Tag Purified
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
His-Tag Purified
Soluble Fraction
Insoluble Fraction
Induced
Un-Induced
His-Tag Purified
Manuscript: Development of qFRET assay for PD1-PDL1 interaction

## Slide 69: Results: SUMOylation of N Protein Mass Spectrometry Identified SUMO1 modified lysine
NC Lysine 61
b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b2⁺ | b2⁺ | b2⁺ | b2⁺ | b3⁺ | b2⁺ | b2⁺ | b3⁺ | b2⁺ | b3⁺ | b2⁺ | b4⁺ | b3⁺ | b3⁺ | b4⁺ | b2⁺ | b2⁺ |  |  | 
 | R | P | Q | G | L | P | N | N | T | A | S | W | F | T | A | L | T | Q | H | G | K-S | E | D | L | K | F | P | 
 |  |  | y3⁺ | y4⁺ | y3⁺ | y3⁺ | y3⁺ | y3⁺ | y3⁺ | y2⁺ | y3⁺ | y3⁺ | y4⁺ | y2⁺ | y2⁺ | y2⁺ | y2⁺ | y⁺ | y⁺ | y⁺ | y⁺ | y⁺ | y2⁺ | y2⁺ | y⁺ | y⁺ | y⁺ | y⁺
GGTQ

## Slide 70: Results: SUMOylation of N Protein Mass Spectrometry Identified SUMO1 modified lysine
NC Lysine 65
b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b⁺ | b2⁺ | b2⁺ | b2⁺ | b2⁺ | b3⁺ | b2⁺ | b2⁺ | b3⁺ | b2⁺ | b3⁺ | b2⁺ | b4⁺ | b4⁺ | b3⁺ | b4⁺ | b2⁺ |  |  |  | 
 | R | P | Q | G | L | P | N | N | T | A | S | W | F | T | A | L | T | Q | H | G | K | E | D | L | K-S | F | P | 
 |  |  | y3⁺ | y4⁺ | y3⁺ | y3⁺ | y3⁺ | y3⁺ |  | y2⁺ | y3⁺ | y3⁺ | y4⁺ | y2⁺ | y2⁺ | y2⁺ | y2⁺ | y⁺ | y⁺ | y⁺ | y⁺ | y⁺ | y2⁺ | y2⁺ | y⁺ | y⁺ | y⁺ | y⁺
GGTQ